## Summary Sheet
Annexure 17 - Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Summary of Price Bid
We declare that the following are our quoted price for the entire scope of work as specified (i.e. for bill of materials/Quantities specified in for supply, erection, testing & commissioning & FMS charges) in the specification and Documentations, Inclusive of all taxes, Duties & Levies and the total price quoted in our proposal shall be on firm price basis.
1 | Schedule "A" | Total Quoted Rate Against price schedule "A (Supply)" in Rs.: | Shimla | 0
|  |  | Dharamsala | 0
|  |  | Total | 0
2 | Schedule "B" | Total Quoted Rate Against price schedule "B (Supply of Common Items)" in Rs.: | Total | 0
3 | Schedule "C" | Total Quoted Rate Against price schedule "C (Erection, Site Installation & Integration)" in Rs.: | Shimla | 0
|  |  | Dharamsala | 0
|  |  | Total | 0
4 | Schedule "D" | Total Quoted Rate Against price schedule "D (FMS) in Rs.: | Shimla | 0
|  |  | Dharamsala | 0
|  |  | Total | 0
5 | Schedule "E" | Total Quoted Rate Against price schedule "E (FMS of Common Items)" in Rs.: | Total | 0
6 | A+B+C+D+E | Total Quoted Rate in Rs. (Schedule A+B+C+D+E): |  | 0
Note:
1 | GST Registration Number of Bidder
2 | The Bidder shall fill the rate of GST
3 | The price are to be filled strictly in this format only
4 | Responsibility of any lack of clarity leading to confusion will rest with bidders.
5 | These rates shall be applicable for whole contract period
Authorized Signatory
Date |  |  | Name
Place |  |  | Designation
Name of the Company

## Schedule A - Supply-Shimla
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule A - Price Schedule for Supply of Items (Shimla)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | Ex-Works Price (Rs./Unit) | Freight & Insurance Charges (Rs./Unit) | Total (Rs./Unit) | GST Total | [5 empty] | Total GST Amount (Rs/ Unit.) | Total for Destination Price inclusive of Ex-Works Freight & Insurance + GST (Rs/ Unit.) | Grand Total (Rs.)
[8 empty] | CGST |  | SGCT |  | IGST
[8 empty] | % | (Rs./Unit) | % | (Rs./Unit) | % | (Rs./Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6+7 | 9 | 10=8x9 | 11 | 12=8x11 | 13 | 14=8x13 | 15=10+12+14 | 16=8+15 | 17=16x5
1 | Single Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 81020 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
2 | Single Phase Whole current Smart Meter 20-80 A with Box |  | Nos. | 34723 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
3 | Three Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 1577 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
4 | HT Meters (110 V, 5 A) |  | Nos. | 135 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
5 | LT-CT Meters for Consumers/ DTR (3x240 V, 5 A) |  | Nos | 1126 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
6 | Modular RF Mesh Module (for installation with each meter) |  | Nos | 118581 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
7 | Data Concentrator Units/Gateway/Router for forming RF Mesh Canopy * |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
8 | Control Center Infra
a | Work Station Dual TFT Monitor - |  | Nos | 4 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
b | LED Display 50" |  | Nos | 2 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
c | Network Switch |  | Nos | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
d | Network Printer |  | Nos | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
e | Work Station Desk [3'5" X 2'.0] Type - Modular |  | Nos | 4 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
f | Work Station Chairs |  | Nos | 6 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
g | 3KVA Online UPS with 1 hour back up and required electrical accessories |  | Nos | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
9 | Backhaul Connectivity (SIM/MPLS/Optic Fibre) for RF Mess canopy |  | Nos. | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
Total | [15 empty] | 0
* Data Concentrator Units/Gateway/Router should take care of any future consumer growth as per HPSEB
Authorized Signatory

## Schedule A - Supply-Dharamsala
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule A - Price Schedule for Supply of Items (Dharamsala)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | Ex-Works Price (Rs./Unit) | Freight & Insurance Charges (Rs./Unit) | Total (Rs./Unit) | GST Total | [5 empty] | Total GST Amount (Rs/ Unit.) | Total for Destination Price inclusive of Ex-Works Freight & Insurance + GST (Rs/ Unit.) | Grand Total (Rs.)
[8 empty] | CGST |  | SGCT |  | IGST
[8 empty] | % | (Rs./Unit) | % | (Rs./Unit) | % | (Rs./Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6+7 | 9 | 10=8x9 | 11 | 12=8x11 | 13 | 14=8x13 | 15=10+12+14 | 16=8+15 | 17=16x5
1 | Single Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 22291 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
2 | Single Phase Whole current Smart Meter 20-80 A with Box |  | Nos. | 9553 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
3 | Three Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 870 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
4 | HT Meters (110 V, 5 A) |  | Nos. | 40 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
5 | LT-CT Meters for Consumers/ DTR (3x240 V, 5 A) |  | Nos. | 405 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
6 | Modular RF Mesh Module (for installation with each meter) |  | Nos | 33159 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
7 | Data Concentrator Units/Gateway/Router for forming RF Mesh Canopy * |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
8 | Control Center Infra
a | Work Station Dual TFT Monitor - |  | Nos. | 2 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
b | LED Display 50" |  | Nos. | 2 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
c | Network Switch |  | Nos. | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
d | Network Printer |  | Nos. | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
e | Work Station Desk [3'5" X 2'.0] Type - Modular |  | Nos. | 2 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
f | Work Station Chairs |  | Nos. | 4 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
g | 3KVA Online UPS with 1 hour back up and required electrical accessories |  | Nos. | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
9 | Backhaul Connectivity (SIM/MPLS/Optic Fibre) for RF Mess canopy |  | Nos. | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
Total | [15 empty] | 0
* Data Concentrator Units/Gateway/Router should take care of any future consumer growth as per HPSEB
Authorized Signatory

## Schedule B - Supply Common Item
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule B - Price Schedule for Supply of Common Items (Shimla & Dharamsala)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | Ex-Works Price (Rs./Unit) | Freight & Insurance Charges (Rs./Unit) | Total (Rs./Unit) | GST Total | [5 empty] | Total GST Amount (Rs./Unit) | Total for Destination Price inclusive of Ex-Works Freight & Insurance + GST (Rs./Unit) | Grand Total (Rs.)
[8 empty] | CGST |  | SGCT |  | IGST
[8 empty] | % | (Rs./Unit) | % | (Rs./Unit) | % | (Rs./Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6+7 | 9 | 10=8x9 | 11 | 12=8x11 | 13 | 14=8x13 | 15=10+12+14 | 16=8+15 | 17=16x5
1 | IT Infrastructure over cloud & Connectivity, system Integration (Including application License fees) and any other hardware equipment/ software as defined in the Technical Specifications of RfP
a | Head End System (HES) licenses |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
b | Meter Data management System and Android &/ IOS Mobile App and web portal. |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
c | System Implementation |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
d | Advisory Services on System Operation till 1 year from the date of Operational Acceptance |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
2 | Training & Development – Providing training of identified personnel of PFCCL and HPSEB on operation and maintenance of AMI Infrastructure (at least 2 times a year during first 3 years for 6 persons per batch) |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
Total | [15 empty] | 0
Authorized Signatory

## Schedule C - Erection-Shimla
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule C - Price Schedule for Erection, Site Installation & integration of items along with related hardware, software & equipment after successful completion of Field Installation and Integration Test (FIIT) (Shimla)
S. No. | Particulars | HSN/SAC Code | Unit | Total Tendered Quantity | Erection Price*(Rs./Unit) | GST | [5 empty] | Total GST Amount (Rs./Unit) | Total Price inclusive of GST (Rs./Unit) | Grand Total (Rs.)
[6 empty] | CGST |  | SGCT |  | IGST
[6 empty] | % | (Rs./Unit) | % | (Rs./Unit) | % | (Rs./Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=7x6 | 9 | 10=9x6 | 11 | 12=11x6 | 13=8+10+12 | 14=13+6 | 15=14x5
1 | Single Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 81020 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
2 | Single Phase Whole current Smart Meter 20-80 A with Box |  | Nos. | 34723 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
3 | Three Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 1577 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
4 | HT Meters (110 V, 5 A) |  | Nos. | 135 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
5 | LT-CT Meters for Consumers/ DTR (3x240 V, 5 A) |  | Nos. | 1126 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
6 | Data Concentrator Units/ Gateway/ Router for forming RF Mesh Canopy |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
Total | [13 empty] | 0
Authorized Signatory
* Erection Price is inclusive of erection, Site Installation & integration of items along with related hardware, software & equipment after successful completion of Field Installation and Integration Test (FIIT)

## Schedule C -Erection-Dharamsala
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule C - Schedule C - Price Schedule for Erection, Site Installation & integration of items along with related hardware, software & equipment after successful completion of Field Installation and Integration Test (FIIT) (Dharamsala)
S. No. | Particulars | HSN/SAC Code | Unit | Total Tendered Quantity | Erection Price* (Rs./Unit) | GST | [5 empty] | Total GST Amount (Rs./Unit) | Total Price inclusive of GST (Rs./Unit) | Grand Total (Rs.)
[6 empty] | CGST |  | SGCT |  | IGST
[6 empty] | % | (Rs./Unit) | % | (Rs./Unit) | % | (Rs./Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=7x6 | 9 | 10=9x6 | 11 | 12=11x6 | 13=8+10+12 | 14=13+6 | 15=14x5
1 | Single Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 22291 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
2 | Single Phase Whole current Smart Meter 20-80 A with Box |  | Nos. | 9553 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
3 | Three Phase Whole current Smart Meter 10-60 A with Box |  | Nos. | 870 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
4 | HT Meters (110 V, 5 A) |  | Nos. | 40 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
5 | LT-CT Meters for Consumers/ DTR (3x240 V, 5 A) |  | Nos. | 405 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
6 | Data Concentrator Units/ Gateway/ Router for forming RF Mesh Canopy |  | Lumpsum | 1 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
Total | [13 empty] | 0
Authorized Signatory
* Erection Price is inclusive of erection, Site Installation & integration of items along with related hardware, software & equipment after successful completion of Field Installation and Integration Test (FIIT)

## Schedule D - FMS-Shimla
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule D - Price Schedule for FMS (Shimla)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | FMS Charge Rate/Year/unit item or equipment in Rs. | [6 empty] | FMS Charge Rate/Year in Rs. | [6 empty] | Total FMS Charges for 7 years in Rs. | GST on total FMS Charges for 7 years | [5 empty] | Total GST Amount (Rs.) | Annual FMS Charges for 7 Years in Rs.
[20 empty] | CGST |  | SGCT |  | IGST
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 |  | % | (Rs./ Unit) | % | (Rs./ Unit) | % | (Rs./ Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13=6x5 | 14=7x5 | 15=8x5 | 16=9x5 | 17=10x5 | 18=11x5 | 19=12x5 | 20=13+14+15+16+17+18+19 | 21 | 22=20x21 | 23 | 24=20*23 | 25 | 26=20*25 | 27=22+24+26 | 28=20+27
1 | Field Maintenance services for meters of all category and modular RF mesh Module (for installation with each meter) |  | Nos. | 118581 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Field Maintenance services for complete canopy of the project area. |  | Lot | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | Backhaul connectivity (SIM/MPLS/Optic fibre) for RF Mesh Canopy |  | Nos | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Total | [26 empty] | 0
Authorized Signatory

## Schedule D - FMS-Dharamsala
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule D - Price Schedule for FMS (Dharamsala)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | FMS Charge Rate/Year/unit item or equipment in Rs. | [6 empty] | FMS Charge Rate/Year in Rs. | [6 empty] | Total FMS Charges for 7 years in Rs. | GST on total FMS Charges for 7 years | [5 empty] | Total GST Amount (Rs.) | Annual FMS Charges for 7 Years in Rs.
[20 empty] | CGST |  | SGCT |  | IGST
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 |  | % | (Rs./ Unit) | % | (Rs./ Unit) | % | (Rs./ Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13=6x5 | 14=7x5 | 15=8x5 | 16=9x5 | 17=10x5 | 18=11x5 | 19=12x5 | 20=13+14+15+16+17+18+19 | 21 | 22=20x21 | 23 | 24=20*23 | 25 | 26=20*25 | 27=22+24+26 | 28=20+27
1 | Field Maintenance services for meters of all category and modular RF mesh Module (for installation with each meter) |  | Nos. | 33159 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Field Maintenance services for complete canopy of the project area. |  | Lot | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | Backhaul connectivity (SIM/MPLS/Optic fibre) for RF Mesh Canopy |  | Nos | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Total | [26 empty] | 0
Authorized Signatory

## Schedule E - FMS Common Item
Price Bid Schedule: Selection of AMI Implementing Agency for implementation of Smart Metering in Shimla and Dharamsala City in Himachal Pradesh
Name of the Bidder:
Schedule E - Price Schedule for FMS of Common Items (Shimla & Dharamsala)
S. No. | Particulars | HSN/ SAC Code | Unit | Total Tendered Quantity | FMS Charge Rate/Year/unit item or equipment in Rs. | [6 empty] | FMS Charge Rate/Year in Rs. | [6 empty] | Total FMS Charges for 7 years in Rs. | GST on total FMS Charges for 7 years | [5 empty] | Total GST Amount (Rs.) | Annual FMS Charges for 7 Years in Rs.
[20 empty] | CGST |  | SGCT |  | IGST
[5 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 |  | % | (Rs./ Unit) | % | (Rs./ Unit) | % | (Rs./ Unit)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13=6x5 | 14=7x5 | 15=8x5 | 16=9x5 | 17=10x5 | 18=11x5 | 19=12x5 | 20=13+14+15+16+17+18+19 | 21 | 22=20x21 | 23 | 24=20*23 | 25 | 26=20*25 | 27=22+24+26 | 28=20+27
1 | FMS-System Integrated, application maintenance support |  | Lot | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Cloud services (Annual hosting fee) Including Bandwidth charges |  | Lot | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | Software Licence AMC for HES, MDM, or if any |  | Lot | 1 | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0; Year 7: 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Total | [26 empty] | 0
Authorized Signatory